**Lead in Drinking Water Testing**

Lead in Drinking Water Testing Bill was signed into law by Gov. Rauner effective January 17, 2017. The Act requires school buildings constructed prior to January 1, 2000 to conduct testing of drinking water sources for lead and pride written notification of results. The Act requires school buildings that house PreK-5th grades to have testing completed. If any samples exceed a concentration of 5 ppb of lead the District must provide individual notice to the students’ parents or guardians. If the sample is at or below 5 ppb notification can be posted on the school website.

Below are the results from the required testing which was completed in November. None of the sample locations were at or above 5 ppb. (ug/l = microgram per liter which is approximately 1 ppb)

|  |  |
| --- | --- |
| SAMPLE LOCATION  | CONCENTRATION(ug/l) |
| Grade School Kitchen 1st | 1.21 |
| Grade School Kitchen 2nd | 1.19 |
| HS Cafe 1st | ND |
| HS Cafe 2nd | ND |
| Kitchen 1st | 1.13 |
| Kitchen 2nd | 1.61 |
| Middle Gym 1st | ND |
| Middle Gym 2nd | ND |
| Middle School Cafe 1st | 1.12 |
| Middle School Cafe 2nd | ND |
| Middle School South 1st | ND |
| Middle School South 2nd | ND |
| Middle School North 1st | ND |
| Middle School North 2nd | ND |
| Grade School Gym West 1st | 2.28 |
| Grade School Gym West 2nd | ND |
| Grade School Gym East 1st | ND |
| Grade School Gym East 2nd | 1.43 |
| Grade School Rm #6 1st | 2.28 |
| Grade School Rm #6 2nd | ND |
| Grade School Rm #7 1st | 2.75 |
| Grade School Rm #7 2nd | 1.18 |
| Grade School Rm #8 1st | 3.27 |
| Grade School Rm #8 2nd | ND |

